Connection of the concentrator with the server.
cable -S FTP5E / Li2YCYv(TP) 4x2x0.22
protocol:RS422+power line
server
SFTP5E AWG24
Li2YCYv(TP) 4x2x0.22
1 2 3 4 5 6 7 8
blue+grauy
blue +brown
red+pink
w/blue+w/brown
shield
shield
green
w/orange
orange
yellow
w/green
brown
green
white
CON.1
con.1 and con.2 are equivalent
-24V
1
2
3
4
5
6
7
8
+24V
concentrator V3.
shield
shield
-out
+out
-in
+in
1
2
3
4
5
6
7
8
data
white
GNG
brown
N/C
Please following the setting of the concentrator,
 before the final closing of the lid, remove the
 packet of silica gel pouch and Integrate your
 free volume inside the concentrator.
 Please post any opening replace the silica gel
 with a new one.
CON.2
S1
S2
S3
S4
S5
S7
S8
S6
shield
shield
+24V
-24V
-in
+in
+out
-out